Determination of NO3 from water sample

Principle

Nitrate reacts with phenol disulphonic acid and produces a nitro derivative which in alkaline solution develops yellow colour due to re-arrangement of its structure. The colour produced follows the ‘Beers law’ and it is proportional to the concentration of NO3 present in the water.

Requirements:

Reagents:

i)	Phenol disulphonic acid (PDA) [25g white phenol was dissolved into 150ml concentrated H2SO4. 75ml of fuming  H2SO4 (15 % free SO3) was added to the solution and stirred well and heated for 2 hours in water bath.]

ii)	KOH solution (12 N) [637g of KOH was dissolved in distilled water and volume was made upto 1000ml with distilled water]

iii)	 EDTA solution

Apparatus:

Spectrophotometer Model No EC. GS 866D

pH meter – Model No TOSHNIWAL. CAT NO- CL46.

Procedure: 50ml of water sample was taken in a breaker and neutralized. Suitale aliquot (50ml) of the sample was evaporated to dryness on waterbath after which 2ml of PDA and 8-10ml of 12(N) KOH solution were added to the sample. When turbidity developed, EDTA solution was added dropwise till it dissolved. The sample was then filtered and the volume was made upto 10ml. A blank/control set was also prepared similarly using distilled water instead of the sample. Light yellow colour developed in it.

Observation:

After 20 minutes its optical density at 420nm was determined using Spectrophotometer. This value was referred to the standard curve prepared with known solutions and the amount of NO3 –nitrogen determined accordingly

Result:

Determination of NO3 from soil sample

Principle

a) Digestion of soil sample:

Requirement:

Reagents:

i)	Concentrated HNO3

ii)	Concentrated Perchloric acid

iii)	Dilute H2SO4 (50ml concentrated H2SO4 was diluted to 1000ml with distilled water)

Procedure:

1g of powdered soil sample were taken in a 100ml Kjeldahl flask and the sample was moistened with a few drops of water. Then 2ml each of concentrated HNO3 and concentrated HClO4 were added to the soil sample and heated slowly on a hot plate till it became nearly dry. The flask was cooled and 1ml more of HClO4 was added before heating it again to dryness. The Kjeldahl flask was rotated several times during heating. Then the flask was cooled and 20ml of dilute H2SO4 was added. The flask was then boiled slowly for 10 minutes and cooled. The digested solution was then filtered through “Whatman’ filter paper and the final volume was made upto 100ml with distilled water in a volumetric flask to serve as the stock solution.

b) Spectrophotometry:

The reaction between nitrate and brucine sulphanilic acid reagent yields a yellow colour the intensity of which was scored at 410 nm and referred to the standard curve for estimation of nitrate by a spectrophotometer.

Requirement:

Reagents:

i)	    Stock nitrate solution: 0.7128g of KNO3 (Potassium nitrate) was dissolved in water and diluted to 1000ml with distilled water. This solution contains 100 mg/l NO3

ii)	Standard nitrate solution: 100ml stock nitrate solution was diluted to 1000ml with distilled water. This solution contains 10mg/l of NO3

iii)	Brucine sulphanilic acid reagent:  1g Brucine sulphate and 0.1g sulphanilic acid were poured in approximately 70ml of hot distilled water to which 3ml of concentrated HCl was added, cooled and the final volume was made up to 100ml.

iv)	H2SO4 Solution:  200ml of concentrated H2SO4 was added carefully to 30ml of distilled water.

c) Preparation of Standard curve:

Nitrate nitrogen solutions within the range of 0.0 – 10.0mg/l were prepared by diluting appropriate quantities of standard nitrate solution. After scoring their optical densities at 410nm in a spectrophotometer, the values were marked on a graph paper to prepare the standard curve.

d) Estimation:

An amount of 2ml of digested sample was carefully pipetted out into a 50ml beaker. 1ml Brucine sulphanilic acid Reagent: was added to it. In a second 50ml beaker 10ml of H2SO4 solution was taken. The contents of the two beakers were mixed carefully pouring from one beaker to the other beaker 4 to 6 times to ensure mixing. The treated samples were allowed to remain in the dark for 10 minutes. After 10 minutes 10ml distilled water was added to each sample and mixed thoroughly. Then the sample was allowed to cool in the dark for about 20-30 minutes. Absorbance of the sample was scored at 410 mm in a spectrophotometer. The values were referred to the standard curve and the nitrate-nitrogen content accordingly determined.